Western Michigan University

Stormwater Management

Program (SWMP)

Kieser & Associates, LLC

536 East Michigan Ave, Suite 300

Kalamazoo, MI 49007

January 2026

National Pollutant Discharge Elimination System (NPDES) Permit Application for Discharge of

Stormwater to Surface Waters of the State from a Municipal Separate Storm Sewer System (MS4)

Table of Contents

Definitions	3

Introduction	6

Regulated Area	6

Outfalls and Points of Discharge	6

Enforcement Response Procedure	7

Stormwater Management Program	9

- Public Participation/Involvement Program (PPP)	10

- Public Education Program (PEP)	12

- Illicit Discharge Elimination Program (IDEP)	14

- Construction Stormwater Runoff Control Program	19

- Post-Construction Runoff Control Program	20

- Pollution Prevention and Good Housekeeping Program	21

Total Maximum Daily Load (TMDL) Implementation Program	28

Attachment A (EHS website and PEP partner website links)	38

Attachment B (Stormwater Control Policy)	39

Attachment C (IDEP - Field Inspection Form)	43

Attachment D (SWPPP Significant Material Inventory Summary Tables)	45

Attachment E (SWPPP Preventative Maintenance/Housekeeping Inspection)	50

Attachment F (SWPPP Structural Control Summary Tables, Maps and Routine/Comprehensive Inspections Checklists)	53

Attachment G (Stormwater BMP Maintenance Plan)	61

Attachment H (Storm Water Catch Basin Inspection & Cleaning Procedure)	284

Attachment I (Dry Weather Stormwater Monitoring Plan)	288

Attachment J (E.coli Wet Weather Stormwater Monitoring & Reporting)	295

Attachment K (Public Education Program Elements)	315

Definitions

Annual monitoring frequency:  A calendar year beginning on January 1 and ending on December 31. When required by this permit, an analytical result, measurement, value, or observation shall be reported for that period if a discharge occurs during that period.

Best management practices (BMPs):  Schedules of activities, prohibitions of practices, maintenance procedures, and structural or managerial practices designed to prevent or reduce the discharge of pollutants to waters of the state.

Certificate of Coverage (COC):  A document, issued by the Department, which authorizes a discharge under a general permit.

Discharge: The addition of any waste, waste effluent, wastewater, pollutant, or combination thereof to waters of the state.

Discharge point:  The location where a point source discharge is directed to waters of the state or to a separate storm sewer system, including outfalls and other points where stormwater exits the facility.

General permit:  A National Pollutant Discharge Elimination System (NPDES) permit issued by the Department that authorizes a category of similar discharges.

Illicit Connection:  A physical connection to an MS4 that conveys non-stormwater discharges, other than uncontaminated groundwater, into the MS4, or a physical connection that is not authorized or permitted by the local authority where such authorization is required.

Illicit Discharge:  Any discharge to an MS4 that is not composed entirely of stormwater or uncontaminated groundwater, except discharges authorized under an NPDES permit. Discharges originating from the permittee’s property that meet this definition are considered illicit discharges.

Inlet:  A catch basin, roof drain, conduit, drain tile, sump pump, or other point where stormwater or wastewater enters a closed conveyance system prior to discharge to waters of the state or another MS4.

Maximum extent practicable (MEP):  The implementation of best management practices by a public body to comply with an approved stormwater management program in a manner that is environmentally beneficial, technically feasible, and within the public body’s legal authority, as required by an MS4 NPDES permit.

Municipal separate storm sewer system (MS4):  All separate storm sewers owned or operated by a public body created by or pursuant to state law that discharge to waters of the state, including systems at military bases, large hospital or prison complexes, highways, and similar facilities. This term does not include separate storm sewers in discrete areas such as individual buildings.

Outfall:  A point source discharge from an MS4 to waters of the state.

Point of Discharge:  A discharge from an MS4 to another MS4 owned or operated by a different public body.

Point Source:  Any discernible, confined, and discrete conveyance from which pollutants are or may be discharged to waters of the state, including outfalls from stormwater drainage systems.

Pretreatment:  The reduction of the amount of pollutants, the elimination of pollutants, or the alteration of the nature of pollutant properties prior to discharge into a public sewer by physical, chemical, or biological processes, process changes, or other means. Dilution is not considered pretreatment unless expressly authorized.

Regulated areas:  Urbanized areas and other areas designated by the permittee that are subject to the requirements of the MS4 permit.

Separate Stormwater Drainage System:  A conveyance or system of conveyances designed and used for collecting and conveying stormwater to waters of the state, excluding combined sewer systems and sanitary sewer systems.

Stormwater:  Stormwater runoff, snowmelt runoff, and surface runoff and drainage.

Total Maximum Daily Loads (TMDLs) A TMDL is a calculation required under Section 303(d) of the federal Clean Water Act for a waterbody that does not meet applicable Water Quality Standards. It represents the maximum amount of a specific pollutant that the waterbody can receive and still meet those standards. A TMDL identifies pollutant loads from all sources (including point and nonpoint sources) and includes a margin of safety to account for uncertainty. Once established, a TMDL serves as the basis for pollutant reduction targets and allocations to sources to achieve and maintain compliance with Water Quality Standards.

Urbanized area:  A geographic area with a population of 50,000 or more, as defined by the United States Census Bureau and determined by the most recent decennial census.

Water Quality Standards:  The standards promulgated pursuant to Part 31 of Act 451 of the Public Acts of 1994, as amended, and codified in the Michigan Administrative Code.

Waters of the State:  All surface waters within the state, including:

- The Great Lakes and their connecting waters

- Inland lakes

- Rivers and streams

- Impoundments

- Open drains

- Other surface bodies of water

This term does not include drainage ways or ponds used solely for wastewater conveyance, treatment, or control.

Significant Discharge:  An illicit discharge that, based on professional judgment, volume, duration, concentration, or pollutant characteristics, is reasonably likely to cause adverse impacts to the MS4, receiving waters, or public health and safety, and therefore warrants immediate or accelerated corrective action.

# Introduction

This document has been prepared in direct connection with a 2025 National Pollutant Discharge Elimination System (NPDES) Permit Application for Discharge of Stormwater to Surface Waters of the State from a Municipal Separate Storm Sewer System (MS4) prepared by Kieser & Associates, LLC (K&A) on behalf of Western Michigan University (WMU).

The NPDES Program protects the surface waters of the state by assuring that discharges of wastewater comply with state and federal regulations. Anyone discharging or proposing to discharge wastewater to the surface waters of the state is required to make application for and obtain a valid NPDES permit prior to wastewater discharge.

NPDES permits are required under Section 402 of the Federal Clean Water Act (the “Federal Act”), as amended (33 U.S.C. 1251 et seq., P.L. 92-500, 95-217), and under Part 31, Water Resources Protection, of Michigan’s “Natural Resources and Environmental Protection Act”, 1994 PA 451, as amended (NREPA). Part 31 of the NREPA also provides authority for the State to issue NPDES permits. The Michigan Department of Environmental, Great Lakes, and Energy (EGLE) administers the NPDES permit program for the State of Michigan.

# Regulated Area

A map identifying the urbanized area associated with the WMU jurisdictional boundary (as defined by the 2010 Census) is provided as Figure 1. The WMU MS4 system, located within the Kalamazoo urbanized area, discharges stormwater into surface waters of the state through stormwater outfalls to Arcadia Creek and points of discharge to the City of Kalamazoo MS4 drainage network.

# Outfalls and Points of Discharge

The surface water of the state that receives stormwater discharge from the WMU MS4 footprint is Arcadia Creek. All WMU stormwater outfalls and points of discharge are summarized in Table 1. Attachment G, "BMP Maintenance plan," includes Table 1(summary of outfalls and points of discharge) and related figures. WMU Facilities Management maintains this map, and a web based GIS system. There are a total of 10 stormwater outfalls that discharge to Arcadia Creek. Additionally, there are 24 stormwater points of discharge where the WMU storm sewer system enters an adjoining MS4 drainage network owned by the City of Kalamazoo. These City outfalls also discharge to Arcadia Creek.

# Enforcement Response Procedure

The WMU campus is regulated as an MS4 under the NPDES permit program. Unlike other municipalities, the University has total control over the storm sewer system within the campus footprint. More specifically, there are no opportunities or mechanisms to allow other entities to connect to the WMU MS4 infrastructure within the campus footprint. As a result, the University is solely responsible for its own MS4 permit compliance. As summarized within this SWMP, WMU has taken and will continue a proactive approach to stormwater management and implementation of stormwater control measures (or best management practices), and serves as a model for others within the Kalamazoo River Watershed to follow.

Enforcement Response for Third-Party Illicit Discharges

If an illicit discharge is determined to be caused by a third party (e.g., contractor, vendor, tenant, or visitor) operating on University property, Western Michigan University (WMU) will take the following enforcement actions:

- Immediate Response
The discharge will be stopped as soon as practicable to prevent further impact to the MS4 and receiving waters. Downstream storm sewer infrastructure will be cleaned or vactored as necessary.

- Notification and Documentation
WMU will issue written notification to the responsible third party describing the violation, required corrective actions, and compliance timeframe. All actions will be documented, including date, location, responsible party, corrective measures, and resolution status.

- Corrective Action and Escalation
If corrective action is not initiated within 30 days, WMU will issue a second written notice and may restrict site access or suspend work activities. If corrective action is not completed within 60 days, WMU may perform or contract the necessary remediation and seek reimbursement from the responsible party.

- Enforcement Authority
WMU may utilize contractual remedies, access restrictions, cost recovery, or other enforcement mechanisms available under University policy. Repeated or significant violations may result in termination of contracts or removal from campus.

- Tracking
All third-party illicit discharge incidents and enforcement actions will be tracked using WMU’s enforcement response tracking system.

#### Tracking Non-Compliance

WMU will utilize a spreadsheet to track instances of non-compliance. The following information will be documented:

- Description of the violation

- Location of the violation

- Date the violation occurred

- Name of the responsible person/department

- Enforcement action taken by WMU

- Date compliance was reestablished

- Action(s) taken to reduce, eliminate and prevent recurrence of the non-compliant discharge

Detailed information and copies of correspondence for each violation will be maintained in a separate file.

# Stormwater Management Program

The WMU Stormwater Management Program (SWMP) is comprised of six major elements. These six major elements include the minimum measures required by the U.S. EPA, EGLE, and are listed as follows:

- Public Participation/Involvement Program (PPP) - to promote, publicize, and facilitate education for the purpose of encouraging the public to reduce the discharge of pollutants to stormwater to the maximum extent practicable.

- Public Education Program (PEP) - to share components of the SWMP and encourage participation in its review and implementation.

- Illicit Discharge Elimination Program (IDEP) - to detect and eliminate illicit connections and discharges to the MS4.

.

- Construction Stormwater Runoff Control Program - to augment Part 91 rules dealing with soil erosion, offsite sedimentation and other construction-related wastes.

- Post-Construction Runoff Control Program - (for new development and redevelopment projects) to address post-construction stormwater runoff from projects that disturb one acre or more, including projects less than one acre that are part of a larger common plan of development that would disturb one acre or more.

- Pollution Prevention and Good Housekeeping Program - to minimize pollutant runoff to the maximum extent practicable from municipal operations that discharge stormwater to the surface waters of the state.

The following chapters of this text are intended to demonstrate compliance with these six minimum control measures and applicable water quality requirements as part of the NPDES Permit Application and SWMP.

# Public Participation/Involvement Program (PPP)

#### Western Michigan University (WMU) is dedicated to fostering active participation in its Stormwater Management Program (SWMP) by engaging students, faculty, staff, and campus visitors. WMU provides multiple opportunities for the public to review and comment on the SWMP and to participate in stormwater education and outreach activities.

#### Availability and Public Notification of the SWMP

#### WMU makes the Stormwater Management Program available for public review through multiple channels. The SWMP is posted on the WMU Environmental Health and Safety (EHS) website and on the Kalamazoo Stormwater Working Group (KSWG) partner website. Availability of the SWMP is also promoted at campus outreach events, including Bronco Bash and the WMU Benefits Expo. WMU will provide public notification of SWMP availability at a minimum frequency of once per year.

#### Through a blend of virtual outreach, academic integration, in-person events, and visible campus practices, WMU aims to educate its community about stormwater management, encourage involvement, and promote stewardship of water resources. The following strategies outline how WMU will invite and sustain public participation.

#### Virtual Promotion of Events and Activities

#### WMU will leverage virtual platforms to ensure broad accessibility to stormwater-related information and opportunities. These efforts include:

#### Posting updates and resources on the WMU Environmental Health and Safety (EHS) website.

#### Sharing content via the Kalamazoo Stormwater Working Group (KSWG) website.

#### Utilizing social media channels such as Facebook, Instagram, and Twitter.

#### Sending email announcements directly to students and staff.

#### Linking to educational materials, including fact sheets and videos, on stormwater management.

#### These virtual channels will act as a hub for event announcements, information dissemination, and collecting feedback on the SWMP.

#### Educational Outreach in Academic Settings

#### WMU will integrate stormwater education into its academic framework to engage students effectively. Faculty in departments such as Biological Sciences, Environmental Sciences, and Geological Sciences may:

#### Announce stormwater-related events and opportunities during classes.

#### Direct students to the WMU stormwater website to explore resources and provide comments on the SWMP.

#### Incorporate instruction on the importance of stormwater management and individual roles in protecting local water resources.

#### In-Person Engagement at Campus Events

#### WMU will connect directly with its community through high-attendance campus events that provide opportunities to learn about stormwater management. Key events include:

#### A booth at Bronco Bash, a major campus event drawing approximately 15,000 attendees, where staff will distribute educational materials (e.g., brochures, flyers) and promote SWMP participation.

#### A booth at the Benefits Expo, attended by 200–500 faculty and staff, providing tailored resources and encouraging involvement. These interactive setups will facilitate direct engagement, answer questions, and highlight opportunities such as volunteer events or workshops.

#### Visible Campus Practices and Educational Signage

#### The WMU campus features over 30 Best Management Practices (BMPs)—including rain gardens, bioretention areas, and subsurface infiltration systems—serving as a working model of how communities can address water management challenges. These BMPs are both functional and educational, engaging students and visitors alike. Many visibly accessible BMPs are equipped with signage that:

#### Highlights the importance of stormwater management.

#### Explains WMU’s role in protecting local surface water resources.

#### Educates the campus community and visitors on the impacts of stormwater and how BMPs mitigate those effects. The signage is designed to spark interest, educate, and promote stewardship, inspiring the WMU community to adopt similar practices in their own lives. Additionally, WMU’s landscaping crews maintain the campus’s stormwater infrastructure daily, including:

#### Cleaning and inspecting catch basins, inlets, and BMPs to prevent clogs and pollution.

#### Reporting illegal dumping of chemicals or debris to ensure accountability.  These visible efforts demonstrate a well-maintained stormwater system and encourage the community to take similar actions.

#### Collaboration with Kalamazoo Stormwater Working Group (KSWG)

#### In partnership with KSWG, WMU will enhance its outreach by linking the WMU EHS website to KSWG’s website, providing access to a wider array of educational materials and regional stormwater initiatives. This collaboration strengthens WMU’s efforts to educate and involve the public. The effectiveness of this partnership will be assessed by recording the number of programs promoted on the KSWG website, aligning WMU’s outreach with broader community goals.

#### Tracking and Measuring Public Engagement

#### WMU will evaluate the success of these participation mechanisms through a robust tracking system, including:

#### Event Attendance: Counting participants at events like Bronco Bash and the Benefits Expo who engage with the stormwater booth.

#### Website Analytics: Monitoring visitation hits on the WMU stormwater website to gauge online interest.

#### Feedback Collection: Reviewing comments submitted on the SWMP via the website or email.

#### Student Participation: Tracking students reached through class announcements and their feedback.

#### KSWG Program Tracking: Documenting the number of educational programs promoted on the KSWG website.  These metrics will allow WMU to assess the reach and impact of its efforts, making adjustments as needed to enhance public involvement.

#### Other

Any questions on this policy and procedure should be directed to WMU Environmental Health and Safety.

#### Process for Updating/Revising the Procedure

This procedure shall be reviewed on an annual basis by EHS for any updates to improve effectiveness.

# Public Education Program (PEP)

OVERVIEW

The Public Education Program (PEP) is a key component of WMU’s 2025 Stormwater Management Plan (SWMP). This program aligns with the Kalamazoo Stormwater Working Group (KSWG) to ensure a unified and consistent regional approach to stormwater education. This document, along with Attachment K, replaces the previously submitted PEP and outlines WMU’s strategy for increasing public awareness and promoting responsible stormwater management practices.

Program Goals

WMU’s PEP is designed to:

- Increase Public Awareness – Educate the campus community on how daily activities contribute to stormwater pollution.

- Encourage Best Practices – Promote proper disposal of waste, responsible use of chemicals, and environmentally friendly maintenance practices.

- Engage the Community – Provide accessible education materials, conduct surveys, and encourage active participation in stormwater initiatives.

- Support Regional Efforts – Collaborate with local organizations to ensure consistent messaging and outreach effectiveness.

#### Education Topics

WMU will address the following 10 required PEP topics through various outreach methods, as detailed in Attachment K:

- Promote public responsibility for protecting water quality in the watershed.

- Educate on the connection between the MS4 system and local water bodies, including potential pollution impacts.

- Raise awareness of illicit discharges and encourage public reporting of violations.

- Promote best practices for vehicle, pavement, and power washing.

- Inform on the proper use and disposal of pesticides, herbicides, and fertilizers.

- Encourage responsible management of grass clippings, leaves, and pet waste.

- Provide information on proper disposal of household hazardous waste and motor vehicle fluids.

- Educate on septic system maintenance and failure detection.

- Promote green infrastructure and Low Impact Development (LID) strategies.

- Identify and educate commercial, industrial, and institutional entities likely to contribute to stormwater pollution.

- Promote proper application of deicing materials to minimize impacts to stormwater and surface waters.

- This topic will be addressed through coordinated regional outreach, including materials available on the KSWG website (e.g., Cars, Pavement, and Power Washing resources).

#### Implementation Strategy

WMU will achieve these goals through:

- Digital Outreach – Maintaining an up-to-date website, utilizing social media, and providing educational materials online.

- Training and Workshops – Conducting staff and faculty training, student engagement events, and industry-specific education.

- Community Involvement – Encouraging public participation through surveys, volunteer opportunities, and stakeholder engagement.

- Collaboration with KSWG – Aligning outreach efforts with other regional partners for consistent messaging. Assessment and Reporting

Each required PEP topic will be addressed at least twice per year through coordinated KSWG regional outreach campaigns, including social media and other digital content.

Assessment and Reporting

WMU will evaluate the effectiveness of the PEP through:

- Surveys – Conducted twice per permit cycle (once in Years 1–2 and again in Years 4–5) to assess knowledge changes and outreach effectiveness.

  - A stormwater education survey was conducted in 2025 as part of initial PEP implementation and was intended to satisfy the Year 1 survey requirement. Although the MS4 permit effective date shifted to 2026, the 2025 survey is considered functionally equivalent to a Year 1 survey and was conducted through in-person outreach (e.g., Bronco Bash 2025) with electronic follow-up distribution.

- Annual Program Review – The Stormwater Program Manager will assess engagement metrics, survey responses, and other available data (e.g., website analytics and public feedback) to determine program success and recommend improvements.

- Adjustments and Updates – If elements of the PEP are deemed ineffective, WMU will update outreach methods based on EGLE feedback and program assessments.

#### Program Management

For questions or further information, contact:
WMU Office of Environmental Health and Safety, Stormwater Program Manager

#### Revision Process

The PEP will be reviewed annually by the Stormwater Program Manager. Updates will be made as necessary to improve effectiveness based on program assessments and stakeholder feedback.

# Illicit Discharge Elimination Program (IDEP)

All non-stormwater discharges are strictly prohibited from entering the WMU MS4 infrastructure. WMU has complete authority and control over its MS4. Refer to Attachment B - WMU Stormwater Control Policy. The following definitions apply to the IDEP:

Illicit Discharge: Any discharge to, or seepage into, a Municipal Separate Storm Sewer System (MS4) that is not composed entirely of stormwater or uncontaminated groundwater except for discharges pursuant to an NPDES permit.

Illicit Connection: A physical connection to an MS4 that primarily conveys non-stormwater discharges other than uncontaminated groundwater into the MS4; or a physical connection not authorized or permitted by the local authority, where a local authority requires authorization or a permit for physical connections.

A current WMU storm sewer system map is available at the WMU Physical Plant and is also available on the WMU intranet system. This storm sewer system is part of the larger campus Geographic Information System (GIS) that is maintained by WMU Facilities Management staff. As previously identified in this document, a hard copy storm sewer map is attached as Figure 2. WMU outfalls and points of discharge are typically inspected during the same year and therefore these locations are not prioritized or ranked in any order of importance. However, all such locations will be screened at least once during the applicable MS4 permit cycle. As part of this IDEP inspection program, WMU will also include the stormwater discharge pipes entering the Goldsworth Valley Stormwater Detention Pond (refer to Figure 3). This pond is designed to overflow during heavy rain events into the City of Kalamazoo MS4 network via the City’s pond outflow structure (Kalamazoo Storm Structure ID# STCVIKC20390) that serves the stormwater pond.

The WMU IDEP plan involves a standard operating procedure (i.e., standardized, stepwise approach) for performing field observations at stormwater outfalls and points of discharge within the entire MS4 footprint during dry weather at least once during each permit cycle. Documented checklist observations include, but are not limited to, discernable flows, water clarity, odor, color, and floatables. A copy of the IDEP checklist used during field observations is provided in Attachment C.

Dry Weather stormwater monitoring plan for each permit cycle will be attachment I.

If unusual flow is observed during dry weather screening (i.e., no obvious explanation), the flow will be tracked upstream within the MS4 drainage network to determine the source. The source flow will then be containerized in sterile laboratory bottles in the field, at the time of observation, by the field inspection crew. The collected samples will be properly labeled, stored on ice in a cooler, and submitted to a certified laboratory within 24 hours for analysis including ammonia, fluoride, detergents, and pH at a minimum.

If the source of flow is not immediately apparent, one or more of the following methods listed below will be initiated by WMU staff via the existing WMU internal Work Order process.

Potential illicit sources will be available for identification since they are on WMU property.

- Indicator parameter sampling

- Dye testing

- Video testing

- Smoke testing

- Documented visual observations or physical indicators

- Drainage area investigations

If an illicit discharge is reported, or a complaint is filed, it will be investigated within 24 hours. If an illicit discharge is reported, identified, and confirmed, through sampling or other means described above, WMU Facilities Management will further assist to identify the source, and the source will be stopped immediately. Downstream storm sewers will be cleaned and vactored within 24-hours to prevent any further influence on surface waters. Illicit discharge response activities will be fully documented and kept in a separate file maintained by WMU staff. Illicit discharge response activities along with field inspection sheets will be kept during each permit reporting period. IDEP response information is outlined below in further detail.

| Illicit Discharge Response | Schedule |
| --- | --- |
| Once an illicit discharge is detected and the source | - Create work order: same day/within 24-hours - Evaluate for quick fix or engineering fix: within 48-hours - Engineering design solution if necessary: within 10 days - Implement/construct permanent fix within 40- days of discovery. - Work order remains open until work completed. |
| is immediately discovered the following occurs: |  |
| - The source will be stopped; the storm |  |
| lines will be cleaned and vactored - A work order will be created to determine |  |
| if a simple solution is available such as |  |
| permanent or temporary capping or |  |
| whether an engineered resolution is |  |
| required - Releases will be reported to EHS to ensure |  |
| compliance with spill notification |  |
| requirements |  |
| If the source of an illicit discharge is not immediately apparent, dye testing or other methods will be initiated. | Completed and approved application for tracer dye testing for the current permit cycle |
| Clean problematic sanitary lines to prevent overflow and inspect lines to evaluate cracks and the potential for breaks. | Facilities management reports annual preventative maintenance activities performed on sanitary sewers. |

#### Responding to Illicit Discharges and Spills

Spill response procedures require prompt and decisive action and well-trained staff. WMU is committed to providing the required level of manpower, equipment, and materials to ensure timely and effective action to minimize impacts to the environment as a result of a spill or illicit discharge. EHS staff shall work with Facilities Management staff to determine the source of any known or reported illicit discharge.

In addition to dry weather field screening, the University utilizes specific language within the Stormwater Control Policy (Attachment B) to prohibit illicit connections. WMU Public Safety or EHS is notified if a potential or confirmed release of polluting materials from our MS4 to surface waters of the State is identified. Upon receiving such notification, EHS will evaluate the release to determine whether Part 5 Rules apply, whether the facility is subject to those requirements, and whether threshold reporting quantities are exceeded. Where applicable, EHS will notify the local EGLE District Office. If the notice is provided after regular working hours, and where applicable, EHS will call EGLE’s 24-hour Pollution Emergency Alerting System (PEAS) telephone number at 800-292-4706 where applicable. Upon discovery of a spill or illicit discharge, trained facility personnel will initiate the following actions:

- Identify exact source and extent of the released materials.

- Deploy booms or pads as needed.

- Notify Facilities Management and/or WMU Public Safety, as needed.

- Evacuate all non-essential personnel from the immediate area, if required.

- Stop processes and operations that may be causing release.

- Take all steps necessary to minimize and mitigate the spill and contact outside emergency contractor, if necessary.

- Use inert absorbent materials to clean up the spill. Place booms around outfalls with illicit discharge.

- Collected spilled material and/or cleanup materials will be properly managed and disposed of by a WMU approved licensed contractor.

The Salt Dome Stormwater Handling Protocol functions as a preventative control to reduce the potential for illicit discharges associated with salt storage and handling operations.

Depending on the type of material spilled, proper protective equipment shall be worn prior to response activities. All spill cleanup debris will be disposed of according to local, state, and federal regulations.

#### Reporting Any Releases of Polluting Materials

All response agencies required to respond to the spill event will be notified as necessary by EHS staff personnel, including state and federal authorities.

Emergency Contact List

EGLE, PEAS 800-292-4706 *

National Response Center 800-424-8802

Kalamazoo Fire Department 911

Kalamazoo Police Department 911

Kalamazoo County Environmental Health Department 269-373-5210

* During regular business hours, please call the Kalamazoo District Office at 269-567-3500

WMU provides training to employees and regular staff related to techniques for identifying an illicit discharge or connection, field observation and screening, and source identification.

Training also includes proper illicit discharge reporting protocols and is conducted at least once during each permit cycle, or within the first year of hire for new staff, if applicable. To further protect from illicit discharges WMU has a multi-year dry-weather screening approach. WMU has identified each outfall on campus and inspected every outfall within each permit cycle.

WMU has included stormwater discharges into GVP to the dry weather inspection to further protect the large area GVP treats. Catch Basins that are not treated further downstream by current stormwater BMP’s on campus will also be inspected and monitored while performing dry weather screening at least once per permit cycle. Specific catch basins that are inspected during each year’s annual inspections are maintained with the dry-weather screening report.

Staff who may observe illicit discharges will be trained within the first year of hire. This training will be conducted in conjunction with Pollution Prevention/Good Housekeeping (P2/GH) training.

| IDEP Training | Schedule |
| --- | --- |
| Train affected employees and regular staff on requirements of permit and to notify EHS if an illicit discharge is detected for following up on proper notification requirements. | EHS and Facilities Management complete training prior to dry weather screening in this permit cycle. If dry weather screening runs over into a second year with new employees, the training will be repeated. |

WMU uses the following procedure for evaluating and determining the overall IDEP effectiveness.

| IDEP Effectiveness | Schedule |
| --- | --- |
| At the end of the dry weather testing, the results and data collected will be reviewed and notes made on how the screening could be improved. | Completed once during each permit cycle. |

The WMU stormwater website provides a list of prohibited activities for employees, faculty and students such as not allowing wastewater, oils, paints or other materials into the storm sewer system and reporting to WMU Public Safety or EHS immediately upon discovery.

#### Non-Stormwater Discharges

In the event of a fire emergency on campus, the Fire Marshall (or Chief in charge) will determine if fire water will generate a significant source of pollution to surface waters of the state. Non- stormwater discharges are discouraged from entering into the WMU MS4 drainage infrastructure network.

# Construction Stormwater Runoff Control Program

This chapter of the WMU SWMP is intended to summarize the University's procedures to address stormwater runoff from construction activities on campus. These are specific to discharges from construction activities where potential pollutants can enter the WMU MS4 drainage network and when the pollutants are in violation of any of the following:

  - Section 9116 of Part 91 of the Michigan Act- Sec.9116. A person who owns land on which an earth change has been made that may result in or contribute to soil erosion or sedimentation of the waters of the state shall implement and maintain soil erosion and sedimentation control measures that will effectively reduce soil erosion or sedimentation from the land on which the earth change has been made.

  - Michigan’s Permit-by-Rule at R 323.2190(2)(a)- Not directly or indirectly discharge wastes such as discarded building materials, concrete truck washout, chemicals, lubricants, fuels, litter, sanitary waste, or any other substance at the construction site into the waters of the state in violation of Part 31 of the Act or rules promulgated there under.

For projects with one acre or more of soil disturbance or within 500 feet of a lake or stream, a Soil Erosion and Sediment Control (SESC) permit must be obtained from the local enforcing agency. For WMU’s main campus, the City of Kalamazoo Community Planning and Economic Development Department is the Municipal Enforcing Agency. WMU has a two-step process. First, WMU requires an SESC permit to be approved and filed with EHS. A Notice of Coverage is also filed via MiEnviro for sites with 5 or more acres of soil disturbance and a potential to discharge to surface waters of the state. Secondly, WMU requires the permit to be posted on site and observed by EHS prior to commencement of any permitted earthwork activity.

Furthermore,as the property owner for all WMU construction projects on campus, the University fully complies with the State of Michigan Permit by Rule (Rule 323.2190). Permitted activities are inspected once per week, and within 24 hours of rain event. Complaints and other information submitted by the public or identified internally, as it relates to construction stormwater runoff control, will be reported to the WMU construction project manager and EHS. In the event of a construction related release of other pollutants, all potential concerns are reported to EHS to ensure compliance with spill notification requirements to EGLE. Specifically, where pollutants are discharged from a construction activity in violation of applicable Part 91 statutes to WMU’s storm sewer system, the University will provide the following notifications:

  - If there is a discharge of sediment to the MS4, project managers are responsible for contacting EHS staff. To maintain compliance and understanding of permit requirements, project managers will be trained on reporting protocol once per permit cycle or within a year of hire.

  - Project managers will notify EHS if there is a discharge of soil, sediment or other pollutants to the MS4 from a construction site, even if there is not an immediate threat of danger to public health or the environment. When necessary, EHS staff will notify city and state officials.

# Post-Construction Runoff Control Program

Post-construction stormwater runoff controls are necessary to maintain or restore stable hydrology in receiving waters by limiting surface runoff rates and volumes and reducing pollutant loadings from sites that undergo new development or significant redevelopment. Under Michigan’s MS4 stormwater permit, post-construction stormwater runoff from new and redevelopment projects that disturb one acre or more must meet the criteria as identified in the WMU Stormwater Control Policy within Attachment B.

#### Stormwater Design Standards

The WMU Stormwater Control Policy sets forth the University's stormwater design standards associated with new and redevelopment projects that disturb one or more acre of land. These design standards also include projects less than one acre that are part of a larger common plan of development that encompasses one acre or more or where significant runoff is expected. WMU stormwater guidelines are enforced by the University within each Professional Service (A/E) contract for new and redevelopment projects on campus. No new outfalls or discharges shall be installed to Arcadia Creek. Post-construction runoff rate and volume of discharge will not exceed the pre-development rate and volume for all storms up to the two-year, 24-hour storm.

Furthermore, these design guidelines require designer review and direct adherence to EGLE standards (for both water quality and quantity) to ensure WMU maintains full compliance. Each item enumerated within the stormwater Design Guidelines, along with the stormwater checklist, are used during the WMU plan review process. These Design Guidelines also apply to water quantity projects (i.e., flood control).

Each Professional Service (A/E) contract for new development or redevelopment must comply with these WMU design standards. The site plan review is based on the initial guidelines for the BMP and approved contractor. All new BMPs will be installed in areas absent soil and groundwater contamination. Currently there are no areas of soil and/or groundwater contamination on WMU campus. The need for site-specific BMPs will be determined during the review process.

#### Operation and Maintenance

New and redevelopment projects on WMU campus are required to have a written inspection and maintenance plan for each BMP installed. WMU provides routine maintenance, and maintenance schedules are developed and implemented to ensure pollution removal effectiveness at design performance and to ensure that the controls are maintained in a condition to reduce to the maximum extent practicable, the contribution of pollutants to the Surface Waters of the State. These maintenance activities apply for the life of practice for each BMP on campus, or until such time that the BMP is replaced or upgraded with no change in performance outcomes. WMU owns and operates each BMP on campus and is obligated to maintain them as part of their SWMP. Therefore, BMP maintenance agreements are not applicable.

# Pollution Prevention and Good Housekeeping Program

NPDES stormwater requirements stress the importance of developing proper pollution prevention procedures and maintaining good housekeeping practices for municipal property.

Municipal operations cover a wide variety of activities and land uses that may be potential sources of stormwater pollutants. These include but are not limited to roadways; parking lots; transportation and equipment garages; fueling areas; warehouses; stockpiles of salt and other raw materials; open ditches and storm sewers; and turf and landscape management for municipal properties.

Stormwater generated from salt storage and handling activities is managed under a site-specific Salt Dome Stormwater Handling Protocol administered by Environmental Health and Safety (EHS). The protocol includes secondary containment practices, valve controls, chloride testing thresholds, reuse of high-chloride water for de-icing where practicable, and licensed disposal when necessary. These practices are implemented to minimize chloride discharges to the MS4 and surface waters.

WMU’s separate stormwater drainage system consists of separate storm sewer pipes, manholes, inlets, catch basins, bioretention areas and other green infrastructure facilities, and proprietary devices for treating stormwater runoff. Web-based University utility maps are available which identify catch basins, storm drains and structural controls. These records are stored at the WMU Physical Plant and are updated in real-time by WMU Facilities Management. Furthermore, EHS will provide written notification to Facilities Management when changes are necessary. Structural stormwater controls are serviced by WMU Landscape Services.

As part of the campus-wide good housekeeping activities, WMU Public Safety and WMU Landscape Services contracts street sweeping in early spring following snowmelt and in late fall for leaf removal. Supplemental sweeping and blowing are performed by WMU staff throughout the year as needed.  Parking lots/ramps, bridges, and roads are inspected and cleaned daily throughout the year. WMU landscaping crews continuously clean areas of campus that are prioritized by landscaping management. This is accomplished by sweeping, blowing, and/or shoveling debris from impervious surfaces to minimize sediment loading to surface waters during runoff events. The practice of keeping roads and parking lots clean is a high priority for landscaping due to the visual aspect of keeping our campus clean. Reduced pollutant runoff is a benefit of this practice. Street sweeping equipment is operated in accordance with the manufacturer’s operating instructions to maximize effectiveness for water quality protection. These practices remove several tons of sediment annually. Ninety percent of seasonal leaves and plant materials are mulched in place. The remaining 10% of compostable materials that cannot be mulched in place are placed in a bin at lot 95. Kalamazoo Landscape Supplies (KLS) removes the excess material from the bin and delivers it to a certified composting facility.

Snow and ice control activities on campus are performed through a combination of contracted services and University operations. A third-party contractor is utilized for plowing and salting of primary roadways and large parking areas, while WMU Landscape Services is responsible for snow and ice control on sidewalks, secondary roadways, building entrances, and other localized areas. Environmental Health and Safety (EHS) maintains programmatic oversight of snow and ice control activities to minimize chloride discharges to the MS4 and surface waters, including coordination of stormwater protection measures and oversight of salt storage and handling practices. A delicate balance of maintaining safe conditions while reducing the use of deicing products is prioritized each winter season. The overall salt usage has been reduced by 28% since 2009 with the use of beet juice for prewetting. Landscape Services also picks up trash on paved surfaces five days a week, all year long except on heavy snow days. Third-party snow and ice control contractors operate in accordance with WMU requirements and procedures, including applicable stormwater protection measures overseen by Environmental Health and Safety.

University vehicle washing activities are conducted in a contained garage area with an oil/water separator that is connected to the sanitary sewer collection system or at local commercial carwashes.

These and other WMU good housekeeping efforts are evaluated annually by EHS and reported to EGLE within the MS4 Permit Annual Report.

WMU’s Pollution Prevention and Good Housekeeping Program incorporates operation and maintenance, spill prevention, training, and recordkeeping to minimize the discharge of pollutants from municipal operations. Operation and maintenance activities include routine inspection, cleaning, and servicing of stormwater infrastructure, roadways, parking areas, equipment, and structural stormwater controls. Spill prevention measures include proper material storage, secondary containment where applicable, established spill response procedures, and coordination with the University’s Emergency Response Program. Training is provided to applicable University staff and contractors on good housekeeping practices, spill response, and stormwater pollution prevention relevant to their job responsibilities. Records of inspections, maintenance activities, training, and spill response actions are maintained by the University to document compliance and support annual program evaluation and reporting.

WMU Landscape Services employees are trained in vegetative land management. A significant number of employees have achieved certification in the Michigan Turf Grass Environmental Stewardship Program and are certified pest control applicators, master gardeners and arborists. WMU has purchased and applied only non-phosphorus fertilizers since 2004. Vegetated stormwater BMPs utilize native Michigan vegetation and buffer zones.

Other important WMU pollution prevention and good housekeeping efforts on campus are summarized as follows:

| Operation/Maintenance Activity | Potential Pollutant | BMP | Assessment Updating Process |
| --- | --- | --- | --- |
| Laboratory/hazardous waste | Drugs, chemicals, electronics, lamps, brine from salt dome, oil-water separator waste | Disposal through licensed firms via incineration or licensed landfills | Ongoing through EHS; volume of waste collected |
| Operation/Maintenance Activity | Potential Pollutant | BMP | Assessment Updating Process |
| Storm drain cleanout | Leaves and/or Mulched grass | Landscape employees report full or covered catch basins; Documented and disposed of via Clean Earth Company | Ongoing through Facilities Management |
| Trash and debris |  | Clean out 5 days/wk (except in heavy snow) | Landscape Services, ongoing |
| Detention and Retention basins | Yard waste, vegetation | Inspect and remove nuisance species and yard waste semiannually | Ongoing through Facilities Management |
| Roadway/parking lots | Sand | No sand used | Ongoing through Landscape Services |
|  | Road salt and deicing materials | Beet juice used to reduce salt application | Ongoing through Landscape Services |
|  |  | Salt dome operation and maintenance procedure | WMU employees and contractors |
|  |  | Snowmelt systems on sidewalks | WMU Facilities Mgmt as budget allows with construction projects |
|  | Debris, sediment on curbs and roads | Street cleaning twice per year | WMU Public Safety contractors |
|  |  | Parking lots cleared of sediment by power blowing into vegetated areas annually | Public Safety |
|  | Coal tar emissions from asphalt | No coal tar used | WMU Design Guidelines |
|  | Automotive and equipment spills | Clean up by EHS, Landscape Services, Public Safety. Notice in parking guide that no vehicle leaking fluids is allowed to park on campus. | Ongoing; number of spills cleaned |
| Operation/Maintenance Activity | Potential Pollutant | BMP | Assessment Updating Process |
|  | Trash and debris | Remove 5 days/wk | Landscape Services ongoing |
| Vehicle Fleet maintenance | Automotive fluids | WMU Garage & Recycling Services, Maintenance at least annually | WMU garage, ongoing |
|  | Car washing | Washing occurs in WMU garage w/ oil-water separator or commercial car wash | NA |
|  | Lawn equipment fluids | WMU Landscape Services annual preventative maintenance via WMU garage | Ongoing |
|  | Batteries, diesel fuel, hydraulic oil | Storage of emergency equipment at Physical Plant | Ongoing |
|  | Gas pumps | Gas pumps and above ground storage tanks at Lot 95 | Inspections |
| Grounds maintenance | Phosphorus | WMU uses only phosphorus-free fertilizers on lawns; no fertilizer in buffer zones | Ongoing |
|  | Plant materials | Staff trained to sweep grass clipping off sidewalks and roads; maintain 20’ buffer around Goldsworth Valley Detention Pond | Ongoing and continuing |
|  | Pesticide/herbicide use (only certified staff, and certified outside contractor) | Employee certification as master gardeners, pest control applicators, arborists; portable mixing pads for pesticide mixing | Landscape Services, EHS, ongoing |
|  | Eroded soils | Leak detectors on sprinklers | Ongoing |
| Operation/Maintenance Activity | Potential Pollutant | BMP | Assessment Updating Process |
| Refuse handling | Pesticide containers | Pesticide containers triple-rinsed before disposal and placed in dumpster with no runoff | Ongoing |
|  | Oil cans, oil filters, antifreeze containers, batteries | Stored inside prior to recycling to appropriate source | WMU Garage and Recycling Services |

#### Facility-Specific Stormwater Management

The WMU Stormwater Committee (comprised of Director of Engineering, Landscape Services Director, Maintenance Director, Director of Environmental Health and Safety, GIS Coordinator, and other Facilities Management staff) continues to review the facilities with the potential to discharge pollutants to surface waters of the state. The Stormwater Committee meets biannually to review campus-wide stormwater issues, catch basin cleaning, BMP inspection results, along with a SWMP review of facilities with pollutant potential. All updates are made to the SWMP following decisions made in committee meetings. Changes made to policy are disseminated down through management of affected departments. When assessing the pollution potential of a facility, the committee considers the following factors:

- Amount of urban pollutants stored at the site (e.g., sediment, nutrients, metals, hydrocarbons, pesticides, fertilizers, herbicides, chlorides, trash, bacteria, or other site- specific pollutants)

- Identification of improperly stored materials

- The potential for polluting activities to be conducted outside (e.g., vehicle washing)

- Proximity to waterbodies

- Housekeeping practices

- Discharge of pollutants of concern to impaired waters

#### Priority Facilities

The WMU Stormwater Committee has identified the following priority facilities:

- Campus Services (High Potential - structural best practices in place, daily maintenance and oversight, routine monthly inspection)

- Waldo Stadium (Medium Potential - structural best practices in place, routine monthly inspection)

The current Physical Plant conducts all maintenance activities within the building and has no exposure of industrial activities or storage outside, and therefore has been changed to low potential.

A Stormwater Pollution Prevention Plan (SWPPP) has been developed for each of these WMU facilities. Each SWPPP includes site-specific structural and non-structural stormwater controls implemented and maintained to prevent or reduce pollutant runoff at each facility. Information related to potential polluting materials, preventative maintenance, routine maintenance inspections, and site-specific structural stormwater controls are provided in Attachments D, E, F G, and H respectively. The presence of stormwater controls, scheduled routine and comprehensive inspections provide WMU with a means to assess any need for changes or corrections. Facilities Management will confirm annually if any corrections are warranted.

The goals of each SWPPP include:

- Maximize control of significant polluting materials

- Reduce the potential levels of these materials that could enter stormwater

- Ensure that stormwater discharges from the site will not cause a violation of Michigan’s water quality standards.

A copy of the SWPPP is located at EHS. A designated Industrial Stormwater Operator EHS staff person is responsible for monitoring the implementation of the plans.

Separate procedures for spill prevention and control are documented in the University’s Spill Prevention, Control and Countermeasure (SPCC) plans for campus, which are designed to meet federal requirements under 40CFR Part 112 dealing with aboveground oil storage facilities. WMU’s Pollution Prevention Incident Plan (PIPP) exists to meet the requirements of Part 5 Rules of the State of Michigan associated with chemical and petroleum storage.

#### Catch Basin Cleaning and BMP Inspection

#### WMU Facilities Management is responsible for cleaning storm sewers, catch basins, and inlets associated with the stormwater infrastructure and structural controls. This work is contracted to a licensed utility contractor, and Time and Materials (T&M) contracts for catch basin cleaning are required to follow WMU’s Storm Water Catch Basin Inspection & Cleaning Procedure (Attachment H). Approximately 80% of storm structures within WMU’s MS4 are treated by structural BMPs. All existing stormwater BMPs (e.g., detention, retention, infiltration, bioretention) are inspected annually by Landscape Services (Attachment G). Catch basin inspections and cleaning are conducted using a risk-based prioritization approach. Prioritization is informed by field inspections, sediment accumulation thresholds (e.g., greater than six inches), drainage area characteristics, construction activity, and the internal WMU work order process. Catch basins not treated by upstream BMPs are inspected on a minimum three-year cycle, or more frequently as conditions warrant. Catch basins that receive downstream treatment by BMPs are inspected and maintained as needed (e.g., during construction activity, routine maintenance, or when deficiencies are observed). Materials removed from catch basin cleaning activities are properly manifested and disposed of by the licensed utility contractor. WMU maintains a BMP location map within the internal GIS system, accessible through the Facilities Management website; Attachment G includes the current maintenance plan and BMP treatment area map for main campus and is updated as maintenance plans change. Any revisions to inspection or cleaning priorities are implemented within 30 days of identification. Attachment I contains the Dry Weather Screening and Catch Basin Monitoring Plan. WMU stormwater design guidelines require new development and redevelopment projects to capture the 25-year, 24-hour storm event or greater with the goal of eliminating post-development stormwater volume discharge; as projects are completed, WMU anticipates fewer catch basins discharging directly to Waters of the State. Currently, 45 BMPs provide treatment for over 80% of campus catch basins.

#### Contractor Requirements and Oversight

Contractors hired by WMU to perform municipal operation and maintenance activities relative to stormwater receive stormwater-related information provided by the associated WMU department contracting work to be performed. Stormwater information is also incorporated into a pre-construction meeting prior to beginning new projects. In addition, project representatives are trained to provide oversight to contractors to ensure that WMU pollution prevention and good housekeeping requirements are followed.

#### Employee Training

WMU EHS staff provides pollution prevention and good housekeeping classroom training for employees in Maintenance Services, Power Plant, Landscape Services, Facilities Management, Project Managers and Custodian Services. These employees are trained once during each permit cycle, and within the first year of employment. Training includes topics on how to reduce pollutants at home such as washing cars in yards or adding a rain garden.

# Total Maximum Daily Load (TMDL) Implementation Program

GENERAL OVERVIEW

Although Western Michigan University (WMU) initially anticipated initiating TMDL monitoring activities in 2025, issuance of the MS4 permit has been delayed. For purposes of this Stormwater Management Program (SWMP), Year 1 of TMDL implementation is defined as the first full recreational season following permit issuance, anticipated to be 2026. All monitoring schedules, milestones, and implementation activities described herein are aligned with this adjusted permit timeline.

The Total Maximum Daily Load (TMDL) plan was developed to address the three monitoring objectives described below. Ultimately, the goal of this monitoring manual is to provide an approach for municipal separate storm sewer system (MS4) permittees in the watershed to demonstrate progress towards meeting TMDL targets.

The implementation of this plan focuses on evaluating stormwater management practices and monitoring impaired waters to assess progress toward achieving applicable TMDL targets using a phased, data-driven approach.

OBJECTIVES

#### Objective 1. Determining progress toward meeting TMDL targets.

The State of Michigan is required by the Clean Water Act to assess all water resources. If, during this assessment, a water body is found not to support its designated use or attain its water quality standards (WQS), a TMDL is developed to define the steps necessary to achieve attainment.

Since 2002, the Kalamazoo River has had a TMDL for Phosphorus, As of December 2020, three subwatersheds within the Kalamazoo River Watershed (KRW) has had a TMDL for E. coli and are as follows, Arcadia Creek, Davis Creek, and Portage Creek.

Note that the Michigan Department of Environment, Great Lakes & Energy (EGLE) periodically reassesses and updates the list of impaired streams in the KRW. TMDLs addressing recreational and aquatic life use impairments have been developed for several waterways in the KRW. Because bacteria are used to assess recreation use impairment, target concentrations for E. coli have been developed for the TMDLs addressing bacteria impairments.

Several communities within the KRW own or operate a municipal separate storm sewer system (MS4) and are regulated by a National Pollutant Discharge Elimination System (NPDES) permit. NPDES permits are now issued to individual MS4 communities; however, MS4s in the KRW are working on a watershed scale. By working on a watershed scale, communities can implement regional plans for permit compliance, saving money and reducing duplicate initiatives by neighboring communities. Focused public education at a regional scale has proven to be of great impact. “Sampling and monitoring remain the responsibility of individual MS4 permittees.”

WMU will prioritize in-stream E. coli monitoring at established historic TMDL sampling locations to confirm the presence, magnitude, and persistence of impairment following correction of the sanitary sewer overflow (SSO) identified in 2023. Targeted MS4 outfall monitoring will be implemented only if in-stream data indicate continued impairment that may reasonably be attributed to stormwater discharges within WMU’s MS4. This phased approach ensures that monitoring efforts are data-driven, efficient, and appropriately scaled to identified water quality conditions.

This phased approach is consistent with the monitoring rationale described in Attachment J (Kieser & Associates scope of work), which recommends re-assessing in-stream conditions prior to initiating targeted outfall monitoring.

WMU submitted its MS4 permit application in March 2025, incorporating this TMDL plan for E. coli. Implementation of monitoring activities will occur following permit issuance, anticipated in 2026. This permit requires WMU to make progress in achieving the pollutant load reduction requirements in the TMDL. In addition, WMU is required to implement the monitoring plan to assess the effectiveness of the best management practices (BMPs) implemented in making progress towards achieving the TMDL.

Given the need to address the requirements in the TMDL, WMU has contracted with Kieser & Associates to develop and standardize E. coli monitoring and reporting plan for this permit cycle. The scope of work can be found in Attachment J. The scope of work may change depending on weather and sample results. The scope and schedule of work will be aligned with MS4 permit issuance and recreational season sampling windows, anticipated to begin in 2026.

#### Objective 2. Evaluate the effectiveness of municipal stormwater runoff controls and practices (BMPs)

For permitted MS4 communities, the NPDES permit application requires the development and evaluation of BMPs. BMPs are implemented within each community, and each BMP is designed to reduce pollutants from entering a waterbody. WMU is responsible for BMPs as a part of their permit that identifies numerous structural and operational BMPs and their operation and maintenance.

Implementation of this plan focuses on evaluating the effectiveness of structural and operational BMPs through in-stream monitoring, BMP inspection and maintenance records, and targeted MS4 outfall sampling where warranted. Monitoring activities may include dry- or wet-weather sampling at selected locations if in-stream data indicate continued impairment potentially attributable to stormwater discharges. The scope and sequencing of monitoring activities will be adjusted, as necessary, to align with the applicable MS4 permit term.

The monitoring locations and sampling identified in this monitoring manual provide information about water quality benefits resulting from BMP implementation by individual MS4 permittees. The sampling and analytical procedures identified can be further used in various illicit discharge detection and verification processes if needed.

#### Objective 3. Coordinate with partners’ reasonable assurance activities toward meeting TMDL targets

Non-point source pollution includes both agricultural and urban sources that are often difficult to identify and control. The Kalamazoo River watershed encompasses approximately 1,302,804 acres and is comprised of roughly 47% agricultural land (primarily corn and soybeans), 30% unmanaged terrestrial uplands, 15% lakes and wetlands, and 8% urban land uses. Several villages and unincorporated developed areas within the watershed are not regulated under MS4 permits. Runoff from these non-point sources contributes to overall watershed water quality conditions. While each MS4 maintains its own goals and monitoring responsibilities, watershed partners coordinate public education and outreach efforts to support progress toward applicable TMDL targets. The Kalamazoo River Watershed Group website is routinely updated with information related to watershed conditions, including TMDL-related initiatives.

BACKGROUND AND EFFORT - PHOSPHORUS

Western Michigan University discharges storm water to the Kalamazoo River which has a TMDL for phosphorus. The TMDL anticipated implementation of the communities MS4 program as part of the storm water loading reductions to help achieve this limit. As such, storm water is part of the non-point source load allocation in the TMDL.

WMU’s priority is to continue with street sweeping / parking lot sweeping, catch basin cleaning and public education to reduce the Phosphorus loading to the maximum extent practical. WMU will continue its long-term solution for proven reduction of phosphorus levels by following the Stormwater Design Guidelines adopted on campus. See WMU’s Design Guidelines Division 33 for how WMU has reduced phosphorus levels by 50 percent.

PHOSPHORUS MONITORING

Since WMU has reached its goal of 50% reduction of phosphorus within its footprint sampling has not been prioritized. Instead WMU continues to use modeling and

continued maintenance of completed BMP’s on campus. WMU has developed

Stormwater Design guidelines for all campus projects that will continue to improve phosphorus reduction within the campus footprint.

WMU is committed to also helping the local community. As such, WMU has

collaborated with local MS4’s and EGLE to form KSWG. The KSWG group has the following phosphorus monitoring plan:

EGLE staff has submitted a Targeted Monitoring Request for an additional sampling point to be added to the TMDL sampling conducted by an EGLE aquatic biologist monthly during the growing season every other year. The new location is just downstream of the Kalamazoo Urbanized Area on the Kalamazoo River. The plan is to utilize the data, collected by EGLE for reporting purposes under the TMDL plan. The goal would be to measure phosphorus trends over time, to determine if the Kalamazoo Area MS4s are successfully reducing phosphorus inputs.

Dry-weather activities conducted by WMU are performed under the Illicit Discharge Elimination Program (IDEP) and consist of visual inspections and investigative follow-up within the MS4 to identify and eliminate non-stormwater discharges or illicit connections. These IDEP activities are not intended to evaluate in-stream water quality conditions. In-stream E. coli monitoring used to evaluate potential stormwater contributions and to determine the need for MS4 outfall sampling is conducted under wet-weather conditions when stormwater runoff is present.

Arcadia Creek E. coli Sampling and Monitoring (Current MS4 Permit Cycle)

Historical Context and WMU Efforts

Since the establishment of the E. coli Total Maximum Daily Load (TMDL) for Arcadia Creek in 2010—based on sampling data from 2009 and 2010 that showed consistent exceedances of Michigan’s water quality standards (300 CFU/100 mL for total body contact and 1,000 CFU/100 mL for partial body contact)—Western Michigan University (WMU) has implemented significant measures to reduce stormwater runoff and improve water quality. Over $6 million has been invested in the installation and retrofitting of 45 Best Management Practices (BMPs), including:

- Detention basins

- Bioretention areas

- Subsurface infiltration systems

- Rain gardens

These efforts have reduced runoff by 987 acre-feet per year. Additionally, WMU has conducted annual public education campaigns to minimize non-point source pollution, such as pet waste and wildlife feeding.

Recent Assessment: 2023 MST Study

Despite these improvements, a 2023 study conducted by Kieser & Associates, LLC, and WMU, utilizing Microbial Source Tracking (MST), indicates that Arcadia Creek remains impaired by E. coli contamination. The study, conducted over five weeks with an additional wet weather event, aimed to:

- Re-evaluate progress towards achieving the E. coli TMDL.

- Identify non-point sources of contamination using MST.

- Provide BMP recommendations based on MST results.

Key Findings:

- E. coli Levels: Daily geometric means from July to September 2023 frequently exceeded the recreational season standard of 300 CFU/100 mL (e.g., 2,247 CFU/100 mL at Site 1 on July 20, 2023), and monthly geometric means ranged from 421 to 586 CFU/100 mL, exceeding the 130 CFU/100 mL standard.

- MST Results: Of the samples tested, 57% were positive for at least one marker. Human-sourced fecal pollution (HF183 marker) was detected in four instances, likely linked to a Sanitary Sewer Overflow (SSO) event under investigation as of October 2023. One detection of ruminant (deer) contamination (Rum2Bac marker) was noted, with no significant contributions from canines or geese.

- External Influences: The SSO event, estimated to have occurred over six months and including a reported 750-gallon sewage spill in September 2023, significantly impacts water quality, suggesting that sources beyond WMU’s Municipal Separate Storm Sewer System (MS4) discharges contribute to the impairment.

These findings indicate that while WMU’s BMPs have effectively reduced animal-related fecal pollution, external factors like SSO events are major contributors to the ongoing E. coli issue.

Updated Sampling and Monitoring Plan

To address the persistent E. coli impairment and comply with the applicable MS4 permit requirements, WMU will implement the following updated plan for Arcadia Creek:

- Post-SSO Correction Re-assessment

  - Objective: Evaluate the impact of SSO correction on E. coli levels.

  - Actions: Collaborate with the City of Kalamazoo and other authorities to confirm resolution of the SSO issue identified in 2023. Conduct comprehensive E. coli sampling at the four historic sites (Sites 1-4) post-correction, following Michigan’s water quality standards (5 consecutive samples for monthly geometric means).

  - Timeline: Initiate sampling during the first recreational season following MS4 permit issuance, anticipated to be 2026, following confirmation of SSO resolution.

- Microbial Source Tracking (MST) / DNA Marker Testing (as warranted)

  - Objective: Further differentiate potential sources of E. coli if in-stream and/or outfall results indicate persistent exceedances.

  - Actions: WMU may implement MST or other DNA marker testing on a case-by-case basis, consistent with consultant recommendations and in coordination with EGLE and watershed partners, as needed to support source identification and corrective actions.

- Methodology: Use droplet digital PCR (ddPCR) analysis with a minimum detection limit of 200 gene copies/100 mL, conducted in partnership with Oakland University.

- Standardized TMDL Re-assessment Framework

  - Objective: Ensure consistent and effective TMDL monitoring.

  - Actions: Develop a standardized framework for TMDL re-assessment, including:

    - Identification of potential contamination sources.

    - Initial E. coli monitoring at historic sites.

    - MST sample selection and analysis.

    - BMP selection based on MST results.

  - Collaboration: Share this framework with other MS4 systems in the Kalamazoo Watershed to promote regional best practices.

- Continued BMP Maintenance and Public Education

  - Objective: Sustain and enhance WMU’s stormwater management efforts.

- Actions:

  - Maintain and inspect existing 45 BMPs annually to ensure optimal performance.

  - Enhance public education initiatives targeting behaviors that contribute to non-point source pollution, such as pet waste management and wildlife feeding near Arcadia Creek.

  - Metrics: Track runoff reduction and public outreach reach annually.

#### Addressing Ongoing Impairment

The 2023 study highlights that Arcadia Creek’s E. coli impairment persists despite WMU’s efforts, largely due to external factors like SSO events. WMU acknowledges that its MS4 discharges (10 outfalls) are only part of the broader watershed dynamics, with the City of Kalamazoo’s 69 outfalls and potential non-MS4 sources (e.g., raccoons, homeless encampments) also contributing. This updated SWMP emphasizes collaboration with local authorities to address SSO issues and a proactive approach to identifying other contamination sources through expanded MST.

#### Alignment with current MS4 Permit Requirements

#### This update ensures compliance with the applicable MS4 permit by:

- Meeting monitoring obligations through phased in-stream E. coli sampling, with targeted MS4 outfall monitoring conducted where warranted by results.

- Demonstrating progress toward TMDL goals through post-SSO re-assessment, continued BMP inspection and maintenance, and implementation of adaptive management practices.

- Supporting permit compliance through development and use of a standardized TMDL re-assessment framework in coordination with watershed partners.

#### Conclusion

#### This updated Arcadia Creek E. coli sampling and monitoring section reflects WMU’s commitment to improving water quality in accordance with the applicable MS4 permit term. By prioritizing in-stream monitoring, applying targeted source evaluation tools as needed, and coordinating with local and regional partners, WMU is positioned to make measurable progress toward achieving the E. coli TMDL for Arcadia Creek while maintaining flexibility to respond to evolving watershed conditions.

Table 1. Proposed Instream locations for E. coli analysis based on previous TMDL sampling conducted by MDEQ/EGLE originally analyzed by the Kalamazoo Public Health Department.

| Sample Site ID | Latitude | Longitude | Description |
| --- | --- | --- | --- |
| 1 | 42.291945 | -85.594031 | Arcadia Creek - ARC-60 |
| 2 | 42.288753 | -85.598663 | Arcadia Creek - ARC-40 |
| 3 | 42.28388 | -85.606679 | Arcadia Creek- Oliver St. and Stadium Drive |
| 4 | 42.273547 | -85.618132 | Arcadia Creek - ARC-10 |

#### Targeted Outfalls for E. coli Sampling during Wet Weather

#### IDEP Dry Weather Sampling Conditions

The Illicit Discharge Elimination Program (IDEP) supports identification and elimination of non-stormwater discharges that may contribute pollutants to impaired receiving waters. As part of this TMDL Implementation Program, WMU will review and consider results from prior IDEP dry-weather screening activities when evaluating potential sources of impairment.

WMU’s IDEP, approved by EGLE in 2018, requires development and implementation of procedures to identify and eliminate illicit connections and discharges to the MS4. Dry-weather screening of prioritized MS4 outfalls and points of discharge will be conducted at least once during the applicable MS4 permit term, consistent with the approved IDEP and Attachment I.

If an illicit discharge or connection is identified during dry-weather screening at an outfall discharging to a TMDL-impaired waterbody, additional investigation and follow-up actions will be conducted in accordance with the IDEP. Because E. coli is not a standard IDEP screening parameter, supplemental E. coli sampling may be conducted where warranted to support source identification and corrective action decisions.

To support source identification, information collected during IDEP dry-weather screening may be evaluated alongside wet-weather and in-stream monitoring results where appropriate. If dry-weather flow is observed at an outfall discharging to a TMDL-impaired waterbody, IDEP procedures will be followed to investigate potential illicit discharges or connections. Where standard IDEP field indicators do not identify a likely source, supplemental E. coli sampling may be conducted, as appropriate, to inform further investigation and corrective actions.

#### Wet Weather Sampling Conditions

The sampling conditions in this monitoring component apply to wet-weather monitoring conducted at in-stream locations and, where warranted, at targeted MS4 outfalls. Samples will be collected during a qualifying rain event. A qualifying rain event is a storm event of sufficient size to produce enough runoff to influence local receiving water quality after the local streams have been predominantly base-flow. A qualifying rain event has these characteristics:

- Precipitation event generally greater than 0.25 inches

- Preceded by dry weather or less than 0.1 inches of rain in the previous 48 hours; and,

- Occurs during Michigan’s recreation season, which is May through October.

However, sampling should never occur during unsafe weather conditions. Samples will be collected during the early portion of the qualifying rain event, with the goal of capturing first-flush conditions to the extent practicable and where safe to do so.

#### Sampling Frequency

Targeted wet-weather sampling at MS4 outfalls may occur up to two times during the applicable MS4 permit term. The frequency and timing of sampling will be based on in-stream monitoring results and prioritization criteria outlined in this plan.

#### Public Education Plan Coordination

Much of the pollution contributing to the degradation of the KRW is suspected to be coming from rural areas (i.e., agricultural land) that is outside of MS4 jurisdiction. The collaborative KRW Public Education Plan (PEP) performed through the KSWG addresses education in the watershed that focuses on things like proper septic system maintenance, properly disposing of pet waste, the impacts of feeding waterfowl, and reporting illicit discharges. Many of the actions found in the PEP directly impact the TMDL requirements. The success of this TMDL plan depends on implementation of the PEP, in addition to other operational BMPs performed by communities.

TIMELINE FOR IMPLEMENTATION

Compressed 4-Year Timeline (From Permit Issuance)

Year 1 (First Recreational Season Following Permit Issuance – Anticipated 2026)

- Conduct in-stream E. coli sampling at four historic Arcadia Creek TMDL locations during the recreational season.

- Establish post-SSO baseline water quality conditions.

- Finalize a standardized TMDL re-assessment framework in coordination with KSWG partners.

- Maintain and inspect WMU’s existing stormwater BMPs.

- Implement Public Education Program (PEP) activities.

- Identify MS4 outfalls for potential targeted wet-weather monitoring, if warranted by results.

Year 2

- Evaluate Year 1 in-stream monitoring results.

- Conduct targeted wet-weather MS4 outfall sampling, if in-stream data indicate continued impairment potentially attributable to stormwater discharges.

- Conduct one MST sampling event if results indicate a need for source differentiation.

- Continue BMP maintenance and PEP activities.

Year 3

- Evaluate BMP effectiveness using cumulative monitoring and maintenance data.

- Adjust BMPs, monitoring locations, or sampling frequency as appropriate based on findings.

- Continue coordination with watershed partners and PEP implementation.

Year 4 (Final Permit Year)

- Conduct additional targeted wet-weather sampling or a second MST event, if warranted.

- Prepare a final TMDL progress evaluation summarizing monitoring results, BMP performance, and adaptive management actions.

- Document progress toward TMDL goals and identify next-cycle recommendations.

### Evaluation

### WMU will measure the success of its SWMP using these metrics:

- TMDL Progress: Assessed through the performance of WMU’s 45 BMPs (e.g., catch basins cleaned, streets swept, and runoff reduced by 987 acre-feet annually).

- PEP and IDEP Outcomes: Tracked via public education events, outreach materials distributed, and illicit discharge resolutions.

- Sampling Results: E. coli and Phosphorus data from in-stream and outfall sampling, including MST findings, to show progress toward TMDL goals.

### Summary

With corrective actions associated with the 2023 SSO underway or completed, WMU can proceed with its independent study, focusing on its 45 BMPs and proactive stormwater management within its MS4 footprint. The university’s efforts align with National Pollutant Discharge Elimination System (NPDES) requirements to reduce pollutants in impaired waterways like Arcadia Creek, Davis Creek, and Axtell Creek. While non-point source pollution (e.g., from agriculture and urban runoff) remains a challenge in the Kalamazoo River Watershed, WMU’s leadership in implementing phosphorus TMDL requirements and sharing insights with other MS4 permittees strengthens regional water quality efforts. This plan ensures measurable progress during the current MS4 permit cycle through sampling, BMP maintenance, and collaboration with KSWG partners.

### Key Impacts of the Updates

- SSO Resolution: Initiate sampling during the first recreational season following MS4 permit issuance, anticipated to be 2026, following confirmation of SSO resolution.

- Independent Study: WMU’s timeline emphasizes its own actions and leadership, with potential collaboration with KSWG.

- Proactive Approach: The plan highlights WMU’s commitment to water quality improvement and knowledge-sharing, reinforcing its role as a stormwater management leader.

This updated timeline and approach reflect the new reality of the SSO correction and WMU’s independent study, ensuring a focused and effective SWMP for current permit cycle.

# References

Boyer, K. B. and Kieser, M.S. (2012) Urban Stormwater Management—An MS4 Success Story for Western Michigan University. Journal of Green Building (7):1, pp. 28–39.

Kieser & Associates, LLC (K&A). 2011. Western Michigan University TMDL Compliance Planning Project. Prepared for Western Michigan University (Project Code: 8635-0006).

Kieser & Associates, LLC (K&A). 2014. Western Michigan University Arcadia Creek Water Quality Monitoring Project. Prepared for Western Michigan University (Project Code: 2- 12-0502)

Kieser & Associates, LLC (K&A). 2023. Western Michigan University Arcadia Creek E. coli    	monitoring Project. Prepared for Western Michigan University.